SECTION 08870

WINDOW FILM

Display hidden notes to specifier. (Don't know how? [Click Here](http://www.arcat.com/sd/display_hidden_notes.shtml))

*Copyright 2008 - 2010 ARCAT, Inc. - All rights reserved*

\*\* NOTE TO SPECIFIER \*\* 3M Window Film; sun control window films, safety and security window films, architectural window films.  
This section is based on the products of 3M Window Film, which is located at:  
3M Center Bldg. 0235-02-S-27  
St. Paul, MN 55144-1000.  
Toll Free Tel: 1-866-499-8857  
Tel: 651-737-0196  
Fax: 651-737-3446  
Web:[www.3m.com/windowfilm](http://www.3m.com/windowfilm)

As an industry leader in both adhesive and film manufacturing, 3M combines these technologies to provide state of the art Safety and Security Window Films to residential, commercial, and government sectors.  
3M Safety and Security Window Films help provide an added measure of protection for a variety of purposes including safety glazing applications, blast mitigation, building envelope protection, to help deter forced entry, and fragment retention for spontaneous glass breakage and seismic events.  
3M Safety and Security Films provide up to 99 percent protection against the sun's destructive ultraviolet rays, helping to protect valuable furnishings from fading.  
3M Safety and Security Films are also available with sun control properties to help reduce glare, improve comfort, add privacy, and save on energy costs.  
3M Safety and Security Window Films provide a practical, cost effective solution to help protect people, property, and provide continuity of operations that would otherwise be at a higher risk with conventional glass.

1. GENERAL
   1. SECTION INCLUDES
      1. Safety and Security Window Film:
         1. Clear microlayered film. (Ultra S600) (Ultra S800)
   2. RELATED SECTIONS

\*\* NOTE TO SPECIFIER \*\* Delete any sections below not relevant to this project; add others as required.

* + 1. Section 08500 - Windows; windows to receive architectural window film.
    2. Section 08600 - Skylights; glass skylights to receive architectural window film.
    3. Section 08800 - Glazing; general glazing applications to receive architectural window film.
    4. Section 08900 - Glazed Curtain Walls; curtain walls to receive architectural window film.
  1. REFERENCES
     1. ANSI Z97.1 - American National Standard for Safety Glazing Materials Used in Buildings - Safety Performance Specifications and Methods of Test.
     2. ASHRAE - American Society for Heating, Refrigeration, and Air Conditioning Engineers; Handbook of Fundamentals.
     3. ASTM International (ASTM):
        1. ASTM D 882 - Standard Test Method for Tensile Properties of Thin Plastic Sheeting.
        2. ASTM D 1004 - Standard Test Method for Tear Resistance (Graves Tear) of Plastic Film and Sheeting.
        3. ASTM D 1044 - Standard Method of Test for Resistance of Transparent Plastics to Surface Abrasion (Taber Abrader Test).
        4. ASTM D 2582 - Standard Test Method for Puncture-Propagation Tear Resistance of Plastic Film and Thin Sheeting.
        5. ASTM D 4830 - Standard Test Methods for Characterizing Thermoplastic Fabrics Used in Roofing and Waterproofing.
        6. ASTM E 84 - Standard Method of Test for Surface Burning Characteristics of Building Materials.
        7. ASTM E 903 - Standard Methods of Test for Solar Absorbance, Reflectance and Transmittance of Materials Using Integrating Spheres.
        8. ASTM E 1886 - Standard Test Method for Performance of Exterior Windows, Curtain Walls, Doors, and Impact Protective Systems Impacted by Missile(s) and Exposed to Cyclic Pressure Differentials.
        9. ASTM E 1996 - Standard Specification for Performance of Exterior Windows, Curtain Walls, Doors and Impact Protective Systems Impacted by Windborne Debris in Hurricanes.
        10. ASTM F 1642 - Standard Method of Test for Glazing and Glazing Systems Subject to Airblast Loadings
        11. ASTM F 2912 - Standard Specification for Glazing and Glazing Systems Subject to Airblast Loadings.
     4. Consumer Products Safety Commission 16 CFR, Part 1201 - Safety Standard for Architectural Glazing Materials.
     5. GSA-TS01 - Standard Test for Glazing and Glazing Systems Subject to Airblast Loadings.
     6. NFRC 100/200 (Formerly ASTM E903) - Standard Methods of Test for Solar Absorbance, Reflectance and Transmittance of Materials Using Integrating Spheres.
     7. ISO 16933, International Standard for Glass in Building: Explosion-resistant security glazing - Test and classification for arena air-blast testing.
  2. PERFORMANCE REQUIREMENTS
     1. Safety Glazing Impact Performance:

\*\* NOTE TO SPECIFIER \*\* Impact Resistance is a performance based test for safety glazing. Manufacturer shall demonstrate compliance with the performance requirements through submittal of 3rd party test reports. Testing shall be provided on 1/4 inch annealed glass, although reports on other glass substrates may be additionally provided if representative of project conditions. The test report shall state compliance with both ANSI Z97.1 and 16 CFR 1201 standards, and show that the film has successfully met 400 ft-lbs impact requirements on at least 4 test specimens. The 400 ft-lbs impact force is generated from a 100-lb impactor drop height of 48-inches, which is required for ANSI Z97.1 Class A (Unlimited) and 16 CFR 1201 Category 2 impact ratings, as referenced in building code.

\*\* NOTE TO SPECIFIER \*\* The following paragraphs apply to Clear Microlayered Safety and Security Window Films, Ultra S600 and S800 Clear Microlayered Safety and Security Window Films, Ultra S600 and Ultra S800. Delete if not required.

* + - 1. 400 ft-lbs impact resistance, meeting ANSI Z97.1 (Class A, Unlimited) and 16 CFR 1201 (Category 2) impact requirements with film applied on 1/4 inch annealed glass.
      2. Impact Resistance after Aging: 400 ft-lbs, meeting ANSI Z97.1 (Class A, Unlimited) and 16 CFR 1201 (Category 2) impact requirements with film applied on 1/8 inch annealed glass.
    1. Blast Hazard Mitigation Performance:

\*\* NOTE TO SPECIFIER \*\* High explosive arena blast testing and shock tube testing are performance based methods for evaluating safety and security films for blast hazard mitigation. Manufacturer shall provide 3rd party test reports or a data sheet summary with specific reference to a 3rd party test report showing the product complies with the referenced standards. The submittal shall indicate the blast load tested (blast pressure and impulse), film product tested, film attachment method, glass substrate tested, and performance rating achieved.  
Frequently specified blast performance standards are GSA TS01 and ASTM F1642. GSA TS01 performance conditions are as follows: Level "3B" = Low Hazard; Level "3A" = Very Low Hazard; and Level "2" = No Hazard. A common minimum specified level of protection is "3B"; therefore in comparison, products with GSA "3A" or "2" ratings exceed this level.  
DELETE any of the following paragraphs not applicable for the project.

\*\* NOTE TO SPECIFIER \*\* The following paragraphs apply to Clear Microlayered Safety and Security Window Films, Ultra S600 Clear Microlayered Safety and Security Window Films, Ultra S600. Delete if not required.

* + - 1. GSA Rating of "2"/ ASTM F1642 "No Hazard" with minimum blast load of 7 psi and 43 psi\*msec, on 1/4 inch (6 mm) single pane glass and film attachment system.
      2. GSA Rating of "2" / ASTM F1642 "Minimal Hazard" with minimum blast load of 9 psi and 60 psi\*msec, on 1 inch (25 mm) double pane glass and film attachment system.
      3. GSA Rating of "3B" / ASTM F1642 "Very Low Hazard" with minimum blast load of 5 psi and 28 psi\*msec, on 1/4" single pane glass without film attachment system.
      4. GSA Rating of "3B" / ASTM F1642 "Low Hazard" with minimum blast load of 11 psi and 65 psi\*msec, on 1 inch (25 mm) double pane glass without film attachment system.

\*\* NOTE TO SPECIFIER \*\* IMPORTANT NOTICE: These products are not approved in the State of Florida for use as hurricane, windstorm, or impact protection from wind-borne debris from a hurricane or windstorm. In compliance with Florida Statute 553.842, these products may not be advertised, sold, offered, provided, distributed, or marketed in the State of Florida as hurricane, windstorm, or impact protection from wind-borne debris from a hurricane or windstorm. DELETE this section if project is located in the State of Florida.  
Impact and pressure cycling are performance based tests for building envelope protection. Manufacturer shall provide 3rd party test reports showing the product complies with the impact and pressure cycling requirements of ASTMs E1886 / E1996. Glazing systems vary, contact Manufacturer for more information.

* + 1. Impact Resistance and Pressure Cycling:

\*\* NOTE TO SPECIFIER \*\* The following paragraphs apply to Clear Microlayered Safety and Security Window Films, Ultra S600 Clear Microlayered Safety and Security Window Films, Ultra S600. Delete if not required.

* + - 1. ASTM E1996 / E1886: Small Missile "A", +/- 80 psf Design Pressure.
    1. Tear Resistance:

\*\* NOTE TO SPECIFIER \*\* Tear resistance is an important property for most safety and security window film applications, as it relates to the film's ability to absorb energy prior to failure. Manufacturer shall submit tear resistance data meeting the full testing and reporting requirements of ASTM D1004. Data shall be submitted for BOTH film orientations so as to indicate balance for tear resistant properties. The following tear resistance values shall be reported, per the requirements of ASTM D1004: peak load or maximum force (lbf, or N); the maximum extension (in, or mm); and the Total Graves Area Tear resistance (lbs%, or N%), which represents total energy absorbed.

\*\* NOTE TO SPECIFIER \*\* The following paragraphs apply to Clear Microlayered Safety and Security Window Films, Ultra S600 Clear Microlayered Safety and Security Window Films, Ultra S600. Delete if not required.

* + - 1. Minimum Graves Area Tear Strength of 1,000 lbs% as measured on coated film product, without liner, per ASTM D1004.
    1. Adhesion to Glass:

\*\* NOTE TO SPECIFIER \*\* Adhesive properties relate to the film's ability to retain broken glass fragments - critical for wide range of safety film applications. Verify the peel strength of the film through submittal of 3rd Party Test reports.

\*\* NOTE TO SPECIFIER \*\* The following paragraphs apply to Clear Microlayered Safety and Security Window Films, Ultra S600 Clear Microlayered Safety and Security Window Films, Ultra S600. Delete if not required.

* + - 1. Minimum 8 lbs/in peel strength per ASTM D3330 (Method A).
    1. Flammability: Surface burning characteristics when tested in accordance ASTM E 84, demonstrating film applied to glass rated Class A for Interior Use:

\*\* NOTE TO SPECIFIER \*\* Flammability properties are important to ensure the film is properly rated for interior use. Class A rated for Interior Use requires a Flame Spread Index no greater than 25; and Smoke Developed Index no greater than 450. Verify Flammability properties through submittal of 3rd Party Test reports.

* + - 1. Flame Spread Index: no greater than 25.
      2. Smoke Developed Index: no greater than 55.
    1. Abrasion Resistance:

\*\* NOTE TO SPECIFIER \*\* Abrasion Resistance relates to the durability and scratch resistance of the film. Verify Abrasion Resistance through 3rd Party testing, per ASTM D1044.

\*\* NOTE TO SPECIFIER \*\* The following paragraphs apply to Clear Microlayered Safety and Security Window Films, Ultra S600 and S800Clear Microlayered Safety and Security Window Films: 3M Ultra S600 and Ultra S800. Delete if not required.

* + - 1. Film shall have a surface coating that is resistant to abrasion such that less than 3 percent increase of transmitted light haze will result when tested in accordance to ASTM D 1044 using 100 cycles, 500 grams weight, and the CS10F Calibrase Wheel.
    1. UV Light Rejection:

\*\* NOTE TO SPECIFIER \*\* UV Light Rejection relates to the durability of films, especially those applied to exterior windows and glass. Review Manufacturer's technical information on amount of UV Light Rejection.

\*\* NOTE TO SPECIFIER \*\* The following paragraphs apply to Clear Microlayered Safety and Security Window Films, Ultra S600 and S800Clear Microlayered Safety and Security Window Films: 3M Ultra S600 and Ultra S800. Delete if not required.

* + - 1. Minimum of 99.9% UV light rejection (300 - 380 nm), per ASTM E903, as determined with film applied on 1/4 inch clear glass.
  1. SUBMITTALS
     1. Submit under provisions of Section 01300.
     2. Product Data: Manufacturer's current technical literature on each product to be used, including:
        1. Manufacturer's Data Sheets.
        2. Preparation instructions and recommendations.
        3. Storage and handling requirements and recommendations.
        4. Installation methods.

\*\* NOTE TO SPECIFIER \*\* DELETE if safety and security films are not required. DELETE Test Report submittal requirement when proprietary specification is used and can be held. MAINTAIN Test Report submittal requirement when other products may be submitted for substitution.

* + 1. 3rd Party Test Report Submittal Requirements. Submit the following 3rd Party test reports indicating compliance with the test values listed in this section.

\*\* NOTE TO SPECIFIER \*\* The following paragraphs apply to Clear Microlayered Safety and Security Window Films, Ultra S600 and Ultra S800; and Microlayered Films with Sun Control: Ultra Prestige S70, Ultra Prestige S50, and Ultra Night Vision S25. Delete if not required.

* + - 1. Flammability Testing, ASTM E84.
      2. Film Properties Testing, ASTM D882.
      3. Abrasion Resistance Testing, ASTM D1044.
      4. Peel Strength Testing, ASTM D3330.
      5. Tear Resistance Testing, ASTM D1004.
      6. Puncture Strength Testing, ASTM D4830.
      7. Safety Glazing Impact Testing, ANSI Z97.1 and/or 16 CFR 1201.

\*\* NOTE TO SPECIFIER \*\* DELETE the following paragraph if project is located in the State of Florida or if intended product use is not for wind borne debris protection.

\*\* NOTE TO SPECIFIER \*\* IMPORTANT NOTICE: These products are not approved in the State of Florida for use as hurricane, windstorm, or impact protection from wind-borne debris from a hurricane or windstorm. In compliance with Florida Statute 553.842, these products may not be advertised, sold, offered, provided, distributed, or marketed in the State of Florida as hurricane, windstorm, or impact protection from wind-borne debris from a hurricane or windstorm. DELETE this section if project is located in the State of Florida.

\*\* NOTE TO SPECIFIER \*\* The following paragraph applies only to: Clear Microlayered Safety and Security Window Films, Ultra S600 and Ultra S800; Microlayered Safety and Security Window Films with Sun Control: Ultra Prestige S70, Ultra Prestige S50, Ultra Night Vision S25; Safety and Security Films with Sun Control: Safety Silver S20 and Safety Neutral S35. Delete if not required.

* + - 1. Impact Resistance and Pressure Cycling, ASTMs E1886 and E1996.

\*\* NOTE TO SPECIFIER \*\* DELETE the following paragraph if project if intended product use is not for blast hazard mitigation.

\*\* NOTE TO SPECIFIER \*\* The following paragraph applies only to: Clear Microlayered Safety and Security Window Films, Ultra S600 and Ultra S800; Microlayered Safety and Security Window Films with Sun Control: Ultra Prestige S70, Ultra Prestige S50, Ultra Night Vision S25; Safety and Security Films with Sun Control: Safety Silver S20 and Safety Neutral S35; Clear Safety and Security Window Films, S70, S80, and S140. Delete if not required.

* + - 1. Blast Hazard Mitigation Testing, ASTM F1642 / F2912 and/or GSA-TS01-2003.
    1. Other Product Submittals:

\*\* NOTE TO SPECIFIER \*\* DELETE any of the following submittals if primary product use is not for blast protection and/or forced entry resistance.

\*\* NOTE TO SPECIFIER \*\* The following paragraph applies only to: Clear Microlayered Safety and Security Window Films, Ultra S600 and Ultra S800; Microlayered Safety and Security Window Films with Sun Control: Ultra Prestige S70, Ultra Prestige S50, Ultra Night Vision S25; Safety and Security Films with Sun Control: Safety Silver S20 and Safety Neutral S35; Clear Safety and Security Window Films, S70, S80, and S140. Delete if not required.

* + - 1. Manufacturer's summary of 3rd Party Blast Hazard Mitigation Testing, ASTM F1642 / F2912 and/or GSA-TS01-2003

\*\* NOTE TO SPECIFIER \*\* The following paragraph applies only to: Clear Microlayered Safety and Security Window Films, Ultra S600 and Ultra S800; and Clear Safety and Security Window Film, 3M Safety S140. Delete if not required.

* + - 1. 3rd Party test reports from Forced Entry Resistance evaluations.

\*\* NOTE TO SPECIFIER \*\* Delete if not required.

* + 1. Verification Samples: For each film specified, two samples representing actual film color and pattern.
  1. QUALITY ASSURANCE
     1. Manufacturer Qualifications: All primary products specified in this section will be supplied by a single manufacturer with a minimum of ten years experience.

\*\* NOTE TO SPECIFIER \*\*Pressure Sensitive Adhesives (PSA) physically bond to the glass, allowing for the film to be removed at the end of life. Clear Dry Adhesives (CDA) chemically bond to the glass. These may require the use of toxic chemicals to remove, or the complete replacement of the existing glass, significantly increasing end of life costs.

* + - 1. Provide documentation that the adhesive used on the specified films is a Pressure Sensitive Adhesive (PSA).
    1. Installer Qualifications: All products listed in this section are to be installed by a single installer with a minimum of five years demonstrated experience in installing products of the same type and scope as specified.
       1. Provide documentation that the installer is authorized by the Manufacturer to perform Work specified in this section.
       2. Provide a commercial building reference list of 5 properties where the installer has applied window film. This list will include the following information:
          1. Name of building.
          2. The name and telephone number of a management contact.
          3. Type of glass.
          4. Type of film and/or film attachment system.
          5. Amount of film and/or film attachment system installed.
          6. Date of completion.

\*\* NOTE TO SPECIFIER \*\* Include a mock-up if the project size and/or quality warrant taking such a precaution. The following is one example of how a mock-up on a large project might be specified. When deciding on the extent of the mock-up, consider all the major different types of work on the project.

* + 1. Mock-Up: Provide a mock-up for evaluation of surface preparation techniques and application workmanship.
       1. Finish areas designated by Architect.
       2. Do not proceed with remaining work until workmanship, color, and sheen are approved by Architect.
       3. Refinish mock-up area as required to produce acceptable work.
  1. DELIVERY, STORAGE, AND HANDLING
     1. Follow Manufacturer's instructions for storage and handling.
     2. Store products in manufacturer's unopened packaging until ready for installation.
     3. Store and dispose of hazardous materials, and materials contaminated by hazardous materials, in accordance with requirements of local authorities having jurisdiction.
  2. PROJECT CONDITIONS
     1. Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer's recommended limits.
  3. WARRANTY
     1. At project closeout, provide to Owner or Owners Representative an executed current copy of the manufacturer's standard limited warranty against manufacturing defect, outlining its terms, conditions, and exclusions from coverage.

1. PRODUCTS
   1. MANUFACTURERS
      1. Acceptable Manufacturer: 3M Window Film , which is located at: 3M Center Bldg. 0235-02-S-27; St. Paul, MN 55144-1000; Toll Free Tel: 866-499-8857; Tel: 651-737-0196; Fax: 651-737-3446; Email:[request info (jdoberle@mmm.com)](http://admin.arcat.com/users.pl?action=UserEmail&company=3M+Window+Film+&coid=31704&rep=&fax=651-737-3446&message=RE:%20Spec%20Question%20(08870mmm):%20%20&mf=); Web:[www.3m.com/windowfilm](http://www.3m.com/windowfilm)
      2. Substitutions: Not permitted.
   2. CLEAR MICROLAYERED SAFETY AND SECURITY WINDOW FILM

\*\* NOTE TO SPECIFIER \*\* Micro-layered films refer to two or more dissimilar materials that are co-extruded into one film, as opposed to monolithic or monolayered films (single layer), or multi-layered films (typically 2- 3 layers) that are laminated together with an adhesive.

* + 1. 3M Scotchshield Ultra S600 Safety and Security Window Film. Optically clear microlayered polyester film, nominally 6 mils (0.006 inch) thick, with a durable acrylic abrasion resistant coating over one surface and a pressure sensitive adhesive on the other. The film is clear and does not contain dyed polyester. The adhesive is pressure-activated, not water-activated, and forms a physical bond, not chemical bond, to the glass. The film is microlayered with both plastic and ductile polyester layers for tear resistance.
       1. Physical / Mechanical Performance Properties (nominal):

\*\* NOTE TO SPECIFIER \*\* While performance testing of film on glass is preferred approach for evaluating a safety film product, film tensile and mechanical properties are frequently specified. Where specified, it is important to note that results depend on several factors, including film orientation and tested product construction (i.e., with or without film coatings). Bi-directionally balanced film properties are important for safety and security applications because product failure in any one direction could have catastrophic effects. Therefore a film's strength properties are governed by the lower of two values in either direction: machine direction (MD); or transverse direction (TD).  
Product Submittals shall meet the full testing and reporting requirements of ASTM D882, with data reported separately for both film directions, so the balance of film properties can be determined. Tested product construction should be noted; properties of the coated film are most relevant since this is the product form installed in the field. Singularly reported values for film mechanical properties (tensile & break strength, or elongation) do NOT meet reporting requirements of ASTM D882 and are not indicative of the balance of properties.

* + - * 1. Film Color: Clear.
        2. Film Thickness (excluding coatings or adhesive liner): Nominal 6 mils
        3. Tensile Strength (ASTM D882):

Base Film: 32,000 psi (MD) / 32,000 psi (TD).

Coated Film: 27,000 psi (MD) / 27,000 psi (TD).

* + - * 1. Break Strength (ASTM D882):

Base Film: 190 lb/in (MD) / 190 lb/in (TD).

Coated Film: 160 lb/in (MD) / 160 lb/in (TD).

* + - * 1. Percent Elongation at Break (ASTM D882):

Base Film: 110 % (MD) / 100 % (TD).

Coated Film: 85 % (MD) / 95 % (TD).

* + - * 1. Yield Strength:

Base Film: 12,000 psi (MD).

Coated Film: 15,000 psi (MD).

* + - * 1. Percent Elongation at Yield (ASTM D882):

Base Film: 7% (MD).

Coated Film: 8% (MD).

* + - * 1. Graves Tear Resistance (ASTM D1004):

Maximum Force (lbs):

Base Film: 28 (MD) / 28 (TD).

Coated Film: 28 (MD) / 28 (TD).

Maximum Extension (in):

Base Film: 0.45 (MD) / 0.65 (TD).

Coated Film: 0.55 (MD) / 0.55 (TD).

Graves Area Tear Resistance (lbs%):

Base Film: 900 (MD) / 1,200 (TD).

Coated Film: 900 (MD) / 1,100 (TD).

* + - * 1. Puncture Propagation Tear Resistance (ASTM D2582):

Coated Film: 6 lbf (MD) / 7 lbf (TD).

* + - * 1. Puncture Strength (ASTM D4830):

Coated Film: 140 lbf.

* + - 1. Uniformity: No noticeable pin holes, streaks, thin spots, scratches, banding or other optical defects.
      2. Variation in Total Transmission across the width: Less than 2 percent over the average at any portion along the length.
      3. Identification: Labeled as to Manufacturer as listed in this Section.
      4. Solar Performance Properties: Film applied to 1/4 inch (6 mm) thick clear glass.
         1. Visible Light Transmission (ASTM E 903): 87 percent.
         2. Ultraviolet Transmission (ASTM E 903): Less than 0.5 percent.
      5. Impact Resistance for Safety Glazing: Tested on 1/4 inch (6 mm) annealed glass.
         1. Safety Rating (CPSC 16 CFR, Part 1201): Category II (400 ft.-lbs).
         2. Safety Rating (ANSI Z97.1): Class A, Unlimited Size.

\*\* NOTE TO SPECIFIER \*\* IMPORTANT NOTICE: These products are not approved in the State of Florida for use as hurricane, windstorm, or impact protection from wind-borne debris from a hurricane or windstorm. In compliance with Florida Statute 553.842, these products may not be advertised, sold, offered, provided, distributed, or marketed in the State of Florida as hurricane, windstorm, or impact protection from wind-borne debris from a hurricane or windstorm.  
Impact Resistance and pressure cycling are performance based tests for Building Envelope Protection. Manufacturer shall provide 3rd party test reports showing the product complies with the impact and pressure cycling requirements of ASTMs E1886 / E1996.

* + - 1. Impact Resistance and Pressure Cycling: Film shall pass impact of Small Missile "A" and withstand subsequent pressure cycling (per ASTMs E 1996 and E 1886) at +/ 80 psf Design Pressure with use of 3M Impact Protection Adhesive. Film applied to 3/16 inch (4.8 mm) tempered glass.
      2. Blast Hazard Mitigation:

\*\* NOTE TO SPECIFIER \*\* High explosive arena blast testing and shock tube testing are performance based methods for evaluating safety and security films for blast hazard mitigation. Manufacturer shall provide 3rd party test reports or a data sheet summary with specific reference to a 3rd party test report showing the product complies with the referenced standards. The data submittal shall indicate the blast load tested (blast pressure and impulse), film product tested, film attachment method, and performance rating achieved.

\*\* NOTE TO SPECIFIER \*\* Select one or more of the following paragraphs, based on glazing types relevant for the project and film attachment method desired. DELETE any paragraphs not required.

* + - * 1. GSA Rating of "2" / ASTM F1642 "Minimal Hazard" with blast pressure of 7 psi and 44 psi\*msec blast impulse, on 1/4 inch (6 mm) annealed single pane glass and 3M Impact Protection Profile Attachment system.
        2. GSA Rating of "2"/ ASTM F1642 "Minimal Hazard" with blast pressure of 7 psi and 42 psi\*msec blast impulse, on 1/4 inch (6 mm) tempered single pane glass and 3M Impact Protection Profile Attachment system
        3. GSA Rating of "2" / ASTM F1642 "Minimal Hazard" with blast pressure of 7 psi and 42 psi\*msec blast impulse, on 1/4 inch (6 mm) annealed single pane glass and 3M Impact Protection Adhesive Attachment system
        4. GSA Rating of "2" / ASTM F1642 "Minimal Hazard" with blast pressure of 7 psi and 42 psi\*msec blast impulse, on 1/4 inch (6 mm) tempered single pane glass and 3M Impact Protection Adhesive Attachment system
        5. GSA Rating of "2" / ASTM F1642 "Minimal Hazard" with blast pressure of 8 psi and 60 psi\*msec blast impulse, on 1 inch (25.4 mm) annealed double pane glass and 3M Impact Protection Profile Attachment system
        6. GSA Rating of "2" / ASTM F1642 "Minimal Hazard" with blast pressure of 8 psi and 60 psi\*msec blast impulse, on 1 inch (25.4 mm) annealed double pane glass and 3M Impact Protection Adhesive Attachment system
        7. GSA Rating of "3B" / ASTM F1642 "Very Low Hazard" with blast pressure of 4 psi and 28 psi\*msec blast impulse, on 1/4 inch (6 mm) annealed single pane glass, daylight applied film (no attachment)
        8. GSA Rating of "3B" / ASTM F1642 "Low Hazard" with blast pressure of 7 psi and 43 psi\*msec blast impulse, on 1/4 inch (6 mm) tempered single pane glass, daylight applied film (no attachment)
        9. GSA Rating of "3B" / ASTM F1642 "Low Hazard" with blast pressure of 7 psi and 42 psi\*msec blast impulse, on 1 inch (25.4 mm) annealed double pane glass, daylight applied film (no attachment)
        10. GSA Rating of "3B" / ASTM F1642 "Low Hazard" with blast pressure of 12 psi and 70 psi\*msec blast impulse, on 1 inch (25.4 mm) tempered double pane glass, daylight applied film (no attachment)
      1. Forced Entry Resistance: Product shall have been evaluated for time to resist complete body passage by a qualified 3rd Party test lab.

1. EXECUTION
   1. EXAMINATION
      1. Film Examination:
         1. If preparation of glass surfaces is the responsibility of another installer, notify Architect in writing of deviations from manufacturer's recommended installation tolerances and conditions.
            1. Glass surfaces receiving new film should first be examined to verify that they are free from defects and imperfections, which will affect the final appearance.
         2. Do not proceed with installation until glass surfaces have been properly prepared and deviations from manufacturer's recommended tolerances are corrected. Prepare surfaces using the methods recommended by the manufacturer for achieving the best result under the project conditions.
         3. Commencement of installation constitutes acceptance of conditions.
   2. PREPARATION
      1. Clean surfaces thoroughly prior to installation.
      2. Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.
      3. Refer to Manufacturer's installation instructions for methods of preparation for Impact Protection Adhesive or Impact Protection Profile film attachment systems.
   3. INSTALLATION
      1. Film Installation, General:
         1. Install in accordance with manufacturer's instructions.
         2. Cut film edges neatly and square at a uniform distance of 1/8 inch (3 mm) to 1/16 inch (1.5 mm) of window sealant. Use new blade tips after 3 to 4 cuts.
         3. Spray the slip solution, composed of one capful of baby shampoo or dishwashing liquid to 1 gallon of water, on window glass and adhesive to facilitate proper positioning of film.
         4. Apply film to glass and lightly spray film with slip solution.
         5. Squeegee from top to bottom of window. Spray slip solution to film and squeegee a second time.
         6. Bump film edge with lint-free towel wrapped around edge of a 5-way tool.
         7. Upon completion of film application, allow 30 days for moisture from film installation to dry thoroughly, and to allow film to dry flat with no moisture dimples when viewed under normal viewing conditions.
         8. If completing an exterior application, check with the manufacturer as to whether edge sealing is required.
   4. CLEANING AND PROTECTION
      1. Remove left over material and debris from Work area. Use necessary means to protect film before, during, and after installation.
      2. Touch-up, repair or replace damaged products before Substantial Completion.
      3. After application of film, wash film using common window cleaning solutions, including ammonia solutions, 30 days after application. Do not use abrasive type cleaning agents and bristle brushes to avoid scratching film. Use synthetic sponges or soft cloths.

END OF SECTION